## PROJECT
CONFIGURATION:
version | 4.4.0.0
runtimeid | 3.5.19.20
libversion | 4.4.0.0
compiler | 3.5.19.40
lmm | 3.5.19.40
profile | Automation Builder 2.7+
settings | SupportOPCUA, LayoutCalculator=OptimizedClientSideLayoutCalculator

## TREE
Variable Tree:
└── name="Application"
├── name="GVL_MOTORES"
│ └── name="motor", type="T_ARRAY__0__1__OF_UDT_MOTOR", access="ReadWrite", directaddress="%ML0"
├── name="GVL_QA"
│ ├── name="testeBit", type="T_BIT_X_0", access="ReadWrite", directaddress="%MX100.0"
│ ├── name="testeBit2", type="T_BIT_X_6", access="ReadWrite", directaddress="%MX100.6"
│ ├── name="testeINT", type="T_INT", access="ReadWrite", directaddress="%MW2000"
│ └── name="testeReal", type="T_REAL", access="ReadWrite", directaddress="%MD2010"
└── name="GVL_SENSORES"
└── name="sensor", type="T_ARRAY__0__0__OF_UDT_ANALOG_INPUT", access="ReadWrite", directaddress="%ML100"

## GVL_MOTORES
path | typeclass | size | byteStart | bitoffset | register
Application.GVL_MOTORES.motor[0].alm.currentMeasurement | BIT | 1 | 0 | 0 | 0
Application.GVL_MOTORES.motor[0].alm.currentMeasurementOverflow | BIT | 1 | 0 | 1 | 0
Application.GVL_MOTORES.motor[0].alm.currentMeasurementUnderflow | BIT | 1 | 0 | 2 | 0
Application.GVL_MOTORES.motor[0].alm.frequencyMeasurement | BIT | 1 | 0 | 3 | 0
Application.GVL_MOTORES.motor[0].alm.frequencyMeasurementOverflow | BIT | 1 | 0 | 4 | 0
Application.GVL_MOTORES.motor[0].alm.frequencyMeasurementUnderflow | BIT | 1 | 0 | 5 | 0
Application.GVL_MOTORES.motor[0].alm.currentOverload | BIT | 1 | 0 | 6 | 0
Application.GVL_MOTORES.motor[0].alm.currentUnderload | BIT | 1 | 0 | 7 | 0
Application.GVL_MOTORES.motor[0].alm.autoResetMaxAttempt | BIT | 1 | 1 | 0 | 0
Application.GVL_MOTORES.motor[0].alm.excededMaxRuntime | BIT | 1 | 1 | 1 | 0
Application.GVL_MOTORES.motor[0].alm.fieldbusComm | BIT | 1 | 1 | 2 | 0
Application.GVL_MOTORES.motor[0].alm.driveLocalCmd | BIT | 1 | 1 | 3 | 0
Application.GVL_MOTORES.motor[0].alm.localWithActiveCmd | BIT | 1 | 1 | 4 | 0
Application.GVL_MOTORES.motor[0].alm.cmdWithWrongMode | BIT | 1 | 1 | 5 | 0
Application.GVL_MOTORES.motor[0].alm.z_reserve[0] | BYTE | 1 | 2 |  | 1
Application.GVL_MOTORES.motor[0].alm.z_reserve[1] | BYTE | 1 | 3 |  | 1
Application.GVL_MOTORES.motor[0].cmd.auto | BIT | 1 | 4 | 0 | 2
Application.GVL_MOTORES.motor[0].cmd.startManual | BIT | 1 | 4 | 1 | 2
Application.GVL_MOTORES.motor[0].cmd.startAuto | BIT | 1 | 4 | 2 | 2
Application.GVL_MOTORES.motor[0].cmd.fltReset | BIT | 1 | 4 | 3 | 2
Application.GVL_MOTORES.motor[0].cmd.almReset | BIT | 1 | 4 | 4 | 2
Application.GVL_MOTORES.motor[0].cmd.workTimeReset | BIT | 1 | 4 | 5 | 2
Application.GVL_MOTORES.motor[0].cmd.maintenance | BIT | 1 | 4 | 6 | 2
Application.GVL_MOTORES.motor[0].cmd.pidAuto | BIT | 1 | 4 | 7 | 2
Application.GVL_MOTORES.motor[0].cmd.disableEquipment | BIT | 1 | 5 | 0 | 2
Application.GVL_MOTORES.motor[0].cmd.disableFieldbusComm | BIT | 1 | 5 | 1 | 2
Application.GVL_MOTORES.motor[0].cmd.updateComParameters | BIT | 1 | 5 | 2 | 2
Application.GVL_MOTORES.motor[0].cmd.cancelUpdateComParameters | BIT | 1 | 5 | 3 | 2
Application.GVL_MOTORES.motor[0].cmd.updateRegistersUse | BIT | 1 | 5 | 4 | 2
Application.GVL_MOTORES.motor[0].cmd.resetStartCount | BIT | 1 | 5 | 5 | 2
Application.GVL_MOTORES.motor[0].cmd.z_reserve[0] | BYTE | 1 | 6 |  | 3
Application.GVL_MOTORES.motor[0].cmd.z_reserve[1] | BYTE | 1 | 7 |  | 3
Application.GVL_MOTORES.motor[0].cfg.autoFltReset | BIT | 1 | 8 | 0 | 4
Application.GVL_MOTORES.motor[0].cfg.autoAlmReset | BIT | 1 | 8 | 1 | 4
Application.GVL_MOTORES.motor[0].cfg.selLocRemoteType | BIT | 1 | 8 | 2 | 4
Application.GVL_MOTORES.motor[0].cfg.selAutoManual | BIT | 1 | 8 | 3 | 4
Application.GVL_MOTORES.motor[0].cfg.refOnTime | BIT | 1 | 8 | 4 | 4
Application.GVL_MOTORES.motor[0].cfg.refWorkTime | BIT | 1 | 8 | 5 | 4
Application.GVL_MOTORES.motor[0].cfg.refPvFrequency | BIT | 1 | 8 | 6 | 4
Application.GVL_MOTORES.motor[0].cfg.refPvCurrent | BIT | 1 | 8 | 7 | 4
Application.GVL_MOTORES.motor[0].cfg.refStsOn | BIT | 1 | 9 | 0 | 4
Application.GVL_MOTORES.motor[0].cfg.refCmdOn | BIT | 1 | 9 | 1 | 4
Application.GVL_MOTORES.motor[0].cfg.refSpFrequency | BIT | 1 | 9 | 2 | 4
Application.GVL_MOTORES.motor[0].cfg.refFreqLimits | BIT | 1 | 9 | 3 | 4
Application.GVL_MOTORES.motor[0].cfg.refInterlockEmergency | BIT | 1 | 9 | 4 | 4
Application.GVL_MOTORES.motor[0].cfg.refIOStatus | BIT | 1 | 9 | 5 | 4
Application.GVL_MOTORES.motor[0].cfg.z_reserve1[0] | BYTE | 1 | 10 |  | 5
Application.GVL_MOTORES.motor[0].cfg.z_reserve1[1] | BYTE | 1 | 11 |  | 5
Application.GVL_MOTORES.motor[0].cfg.autoFltResetTime | UINT | 2 | 12 |  | 6
Application.GVL_MOTORES.motor[0].cfg.autoAlmResetTime | UINT | 2 | 14 |  | 7
Application.GVL_MOTORES.motor[0].cfg.maxAutoFltResetTry | UINT | 2 | 16 |  | 8
Application.GVL_MOTORES.motor[0].cfg.analogMinValue | INT | 2 | 18 |  | 9
Application.GVL_MOTORES.motor[0].cfg.analogMaxValue | INT | 2 | 20 |  | 10
Application.GVL_MOTORES.motor[0].cfg.startStopFltTime | UINT | 2 | 22 |  | 11
Application.GVL_MOTORES.motor[0].cfg.z_reserve2[0] | BYTE | 1 | 24 |  | 12
Application.GVL_MOTORES.motor[0].cfg.z_reserve2[1] | BYTE | 1 | 25 |  | 12
Application.GVL_MOTORES.motor[0].cfg.z_reserve2[2] | BYTE | 1 | 26 |  | 13
Application.GVL_MOTORES.motor[0].cfg.z_reserve2[3] | BYTE | 1 | 27 |  | 13
Application.GVL_MOTORES.motor[0].cfg.analogInputMinFrequency | REAL | 4 | 28 |  | 14
Application.GVL_MOTORES.motor[0].cfg.analogInputMaxFrequency | REAL | 4 | 32 |  | 16
Application.GVL_MOTORES.motor[0].cfg.analogInputMinCurrent | REAL | 4 | 36 |  | 18
Application.GVL_MOTORES.motor[0].cfg.analogInputMaxCurrent | REAL | 4 | 40 |  | 20
Application.GVL_MOTORES.motor[0].cfg.frequencyMax | REAL | 4 | 44 |  | 22
Application.GVL_MOTORES.motor[0].cfg.frequencyMin | REAL | 4 | 48 |  | 24
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[0] | BYTE | 1 | 52 |  | 26
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[1] | BYTE | 1 | 53 |  | 26
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[2] | BYTE | 1 | 54 |  | 27
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[3] | BYTE | 1 | 55 |  | 27
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[4] | BYTE | 1 | 56 |  | 28
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[5] | BYTE | 1 | 57 |  | 28
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[6] | BYTE | 1 | 58 |  | 29
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[7] | BYTE | 1 | 59 |  | 29
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[8] | BYTE | 1 | 60 |  | 30
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[9] | BYTE | 1 | 61 |  | 30
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[10] | BYTE | 1 | 62 |  | 31
Application.GVL_MOTORES.motor[0].cfg.z_reserve3[11] | BYTE | 1 | 63 |  | 31
Application.GVL_MOTORES.motor[0].comParameters.paralelProcessing | BIT | 1 | 64 | 0 | 32
Application.GVL_MOTORES.motor[0].comParameters.byteOrder | BIT | 1 | 64 | 1 | 32
Application.GVL_MOTORES.motor[0].comParameters.disableWhenComError | BIT | 1 | 64 | 2 | 32
Application.GVL_MOTORES.motor[0].comParameters.z_reserve[0] | BYTE | 1 | 65 |  | 32
Application.GVL_MOTORES.motor[0].comParameters.z_reserve[1] | BYTE | 1 | 66 |  | 33
Application.GVL_MOTORES.motor[0].comParameters.z_reserve[2] | BYTE | 1 | 67 |  | 33
Application.GVL_MOTORES.motor[0].comParameters.comType | BYTE | 1 | 68 |  | 34
Application.GVL_MOTORES.motor[0].comParameters.interfaceID | BYTE | 1 | 69 |  | 34
Application.GVL_MOTORES.motor[0].comParameters.adress | BYTE | 1 | 70 |  | 35
Application.GVL_MOTORES.motor[0].comParameters.unitID | BYTE | 1 | 71 |  | 35
Application.GVL_MOTORES.motor[0].comParameters.timeComDisable | UINT | 2 | 72 |  | 36
Application.GVL_MOTORES.motor[0].comParameters.tcpPort | WORD | 2 | 74 |  | 37
Application.GVL_MOTORES.motor[0].comParameters.registerTimeout | WORD | 2 | 76 |  | 38
Application.GVL_MOTORES.motor[0].comParameters.connectTimeout | WORD | 2 | 78 |  | 39
Application.GVL_MOTORES.motor[0].comParameters.ipAdress[0] | BYTE | 1 | 80 |  | 40
Application.GVL_MOTORES.motor[0].comParameters.ipAdress[1] | BYTE | 1 | 81 |  | 40
Application.GVL_MOTORES.motor[0].comParameters.ipAdress[2] | BYTE | 1 | 82 |  | 41
Application.GVL_MOTORES.motor[0].comParameters.ipAdress[3] | BYTE | 1 | 83 |  | 41
Application.GVL_MOTORES.motor[0].disable.alm.currentMeasurement | BIT | 1 | 84 | 0 | 42
Application.GVL_MOTORES.motor[0].disable.alm.currentMeasurementOverflow | BIT | 1 | 84 | 1 | 42
Application.GVL_MOTORES.motor[0].disable.alm.currentMeasurementUnderflow | BIT | 1 | 84 | 2 | 42
Application.GVL_MOTORES.motor[0].disable.alm.frequencyMeasurement | BIT | 1 | 84 | 3 | 42
Application.GVL_MOTORES.motor[0].disable.alm.frequencyMeasurementOverflow | BIT | 1 | 84 | 4 | 42
Application.GVL_MOTORES.motor[0].disable.alm.frequencyMeasurementUnderflow | BIT | 1 | 84 | 5 | 42
Application.GVL_MOTORES.motor[0].disable.alm.currentOverload | BIT | 1 | 84 | 6 | 42
Application.GVL_MOTORES.motor[0].disable.alm.currentUnderload | BIT | 1 | 84 | 7 | 42
Application.GVL_MOTORES.motor[0].disable.alm.autoResetMaxAttempt | BIT | 1 | 85 | 0 | 42
Application.GVL_MOTORES.motor[0].disable.alm.excededMaxRuntime | BIT | 1 | 85 | 1 | 42
Application.GVL_MOTORES.motor[0].disable.alm.fieldbusComm | BIT | 1 | 85 | 2 | 42
Application.GVL_MOTORES.motor[0].disable.alm.driveLocalCmd | BIT | 1 | 85 | 3 | 42
Application.GVL_MOTORES.motor[0].disable.alm.localWithActiveCmd | BIT | 1 | 85 | 4 | 42
Application.GVL_MOTORES.motor[0].disable.alm.cmdWithWrongMode | BIT | 1 | 85 | 5 | 42
Application.GVL_MOTORES.motor[0].disable.alm.z_reserve[0] | BYTE | 1 | 86 |  | 43
Application.GVL_MOTORES.motor[0].disable.alm.z_reserve[1] | BYTE | 1 | 87 |  | 43
Application.GVL_MOTORES.motor[0].disable.flt.driveFailure | BIT | 1 | 88 | 0 | 44
Application.GVL_MOTORES.motor[0].disable.flt.protectionUnitTrip | BIT | 1 | 88 | 1 | 44
Application.GVL_MOTORES.motor[0].disable.flt.breakerTripped | BIT | 1 | 88 | 2 | 44
Application.GVL_MOTORES.motor[0].disable.flt.lackOfPhase | BIT | 1 | 88 | 3 | 44
Application.GVL_MOTORES.motor[0].disable.flt.startFailure | BIT | 1 | 88 | 4 | 44
Application.GVL_MOTORES.motor[0].disable.flt.stopFailure | BIT | 1 | 88 | 5 | 44
Application.GVL_MOTORES.motor[0].disable.flt.fieldbusCommFail | BIT | 1 | 88 | 6 | 44
Application.GVL_MOTORES.motor[0].disable.flt.localRemoteSelect | BIT | 1 | 88 | 7 | 44
Application.GVL_MOTORES.motor[0].disable.flt.motorOvertempTrip | BIT | 1 | 89 | 0 | 44
Application.GVL_MOTORES.motor[0].disable.flt.driveOvertempTrip | BIT | 1 | 89 | 1 | 44
Application.GVL_MOTORES.motor[0].disable.flt.torqueLimitTrip | BIT | 1 | 89 | 2 | 44
Application.GVL_MOTORES.motor[0].disable.flt.overcurrentTrip | BIT | 1 | 89 | 3 | 44
Application.GVL_MOTORES.motor[0].disable.flt.overvoltageTrip | BIT | 1 | 89 | 4 | 44
Application.GVL_MOTORES.motor[0].disable.flt.undervoltageTrip | BIT | 1 | 89 | 5 | 44
Application.GVL_MOTORES.motor[0].disable.flt.groundFault | BIT | 1 | 89 | 6 | 44
Application.GVL_MOTORES.motor[0].disable.flt.z_reserve[0] | BYTE | 1 | 90 |  | 45
Application.GVL_MOTORES.motor[0].disable.flt.z_reserve[1] | BYTE | 1 | 91 |  | 45
Application.GVL_MOTORES.motor[0].equip.name | STRING | 12 | 92 |  | 46
Application.GVL_MOTORES.motor[0].equip.equipmentType | UINT | 2 | 104 |  | 52
Application.GVL_MOTORES.motor[0].equip.equipmentStatus | UINT | 2 | 106 |  | 53
Application.GVL_MOTORES.motor[0].equip.operationMode | UINT | 2 | 108 |  | 54
Application.GVL_MOTORES.motor[0].equip.operationSwitch | UINT | 2 | 110 |  | 55
Application.GVL_MOTORES.motor[0].equip.actualFaultCode | UINT | 2 | 112 |  | 56
Application.GVL_MOTORES.motor[0].equip.lastFaultCode | UINT | 2 | 114 |  | 57
Application.GVL_MOTORES.motor[0].equip.severity | UINT | 2 | 116 |  | 58
Application.GVL_MOTORES.motor[0].equip.driveFaultCode | UINT | 2 | 118 |  | 59
Application.GVL_MOTORES.motor[0].equip.interlockCode | UINT | 2 | 120 |  | 60
Application.GVL_MOTORES.motor[0].equip.almCode | UINT | 2 | 122 |  | 61
Application.GVL_MOTORES.motor[0].equip.startCout | UDINT | 4 | 124 |  | 62
Application.GVL_MOTORES.motor[0].equip.worktime | REAL | 4 | 128 |  | 64
Application.GVL_MOTORES.motor[0].equip.z_reserve[0] | BYTE | 1 | 132 |  | 66
Application.GVL_MOTORES.motor[0].equip.z_reserve[1] | BYTE | 1 | 133 |  | 66
Application.GVL_MOTORES.motor[0].equip.z_reserve[2] | BYTE | 1 | 134 |  | 67
Application.GVL_MOTORES.motor[0].equip.z_reserve[3] | BYTE | 1 | 135 |  | 67
Application.GVL_MOTORES.motor[0].equip.z_reserve[4] | BYTE | 1 | 136 |  | 68
Application.GVL_MOTORES.motor[0].equip.z_reserve[5] | BYTE | 1 | 137 |  | 68
Application.GVL_MOTORES.motor[0].equip.z_reserve[6] | BYTE | 1 | 138 |  | 69
Application.GVL_MOTORES.motor[0].equip.z_reserve[7] | BYTE | 1 | 139 |  | 69
Application.GVL_MOTORES.motor[0].flt.driveFailure | BIT | 1 | 140 | 0 | 70
Application.GVL_MOTORES.motor[0].flt.protectionUnitTrip | BIT | 1 | 140 | 1 | 70
Application.GVL_MOTORES.motor[0].flt.breakerTripped | BIT | 1 | 140 | 2 | 70
Application.GVL_MOTORES.motor[0].flt.lackOfPhase | BIT | 1 | 140 | 3 | 70
Application.GVL_MOTORES.motor[0].flt.startFailure | BIT | 1 | 140 | 4 | 70
Application.GVL_MOTORES.motor[0].flt.stopFailure | BIT | 1 | 140 | 5 | 70
Application.GVL_MOTORES.motor[0].flt.fieldbusCommFail | BIT | 1 | 140 | 6 | 70
Application.GVL_MOTORES.motor[0].flt.localRemoteSelect | BIT | 1 | 140 | 7 | 70
Application.GVL_MOTORES.motor[0].flt.motorOvertempTrip | BIT | 1 | 141 | 0 | 70
Application.GVL_MOTORES.motor[0].flt.driveOvertempTrip | BIT | 1 | 141 | 1 | 70
Application.GVL_MOTORES.motor[0].flt.torqueLimitTrip | BIT | 1 | 141 | 2 | 70
Application.GVL_MOTORES.motor[0].flt.overcurrentTrip | BIT | 1 | 141 | 3 | 70
Application.GVL_MOTORES.motor[0].flt.overvoltageTrip | BIT | 1 | 141 | 4 | 70
Application.GVL_MOTORES.motor[0].flt.undervoltageTrip | BIT | 1 | 141 | 5 | 70
Application.GVL_MOTORES.motor[0].flt.groundFault | BIT | 1 | 141 | 6 | 70
Application.GVL_MOTORES.motor[0].flt.z_reserve[0] | BYTE | 1 | 142 |  | 71
Application.GVL_MOTORES.motor[0].flt.z_reserve[1] | BYTE | 1 | 143 |  | 71
Application.GVL_MOTORES.motor[0].interlock.lowLevel | BIT | 1 | 144 | 0 | 72
Application.GVL_MOTORES.motor[0].interlock.highLevel | BIT | 1 | 144 | 1 | 72
Application.GVL_MOTORES.motor[0].interlock.lowPressure | BIT | 1 | 144 | 2 | 72
Application.GVL_MOTORES.motor[0].interlock.highPressure | BIT | 1 | 144 | 3 | 72
Application.GVL_MOTORES.motor[0].interlock.lowFlow | BIT | 1 | 144 | 4 | 72
Application.GVL_MOTORES.motor[0].interlock.highFlow | BIT | 1 | 144 | 5 | 72
Application.GVL_MOTORES.motor[0].interlock._emergencyStop | BIT | 1 | 144 | 6 | 72
Application.GVL_MOTORES.motor[0].interlock._driveSto | BIT | 1 | 144 | 7 | 72
Application.GVL_MOTORES.motor[0].interlock._waitingTimeBetweenStarts | BIT | 1 | 145 | 0 | 72
Application.GVL_MOTORES.motor[0].interlock._process | BIT | 1 | 145 | 1 | 72
Application.GVL_MOTORES.motor[0].interlock._waitingStoppingMotor | BIT | 1 | 145 | 2 | 72
Application.GVL_MOTORES.motor[0].interlock._localRemoteSelect | BIT | 1 | 145 | 3 | 72
Application.GVL_MOTORES.motor[0].interlock.afterValve | BIT | 1 | 145 | 4 | 72
Application.GVL_MOTORES.motor[0].interlock.beforeValve | BIT | 1 | 145 | 5 | 72
Application.GVL_MOTORES.motor[0].interlock.exaustPressureSwitch | BIT | 1 | 145 | 6 | 72
Application.GVL_MOTORES.motor[0].interlock.intakePressureSwitch | BIT | 1 | 145 | 7 | 72
Application.GVL_MOTORES.motor[0].interlock.floaterLow | BIT | 1 | 146 | 0 | 73
Application.GVL_MOTORES.motor[0].interlock.floaterHigh | BIT | 1 | 146 | 1 | 73
Application.GVL_MOTORES.motor[0].interlock.fluxostat | BIT | 1 | 146 | 2 | 73
Application.GVL_MOTORES.motor[0].interlock.shiftLogic | BIT | 1 | 146 | 3 | 73
Application.GVL_MOTORES.motor[0].interlock.lostCom | BIT | 1 | 146 | 4 | 73
Application.GVL_MOTORES.motor[0].interlock.z_reserve[0] | BYTE | 1 | 147 |  | 73
Application.GVL_MOTORES.motor[0].io.inputLocal | BIT | 1 | 148 | 0 | 74
Application.GVL_MOTORES.motor[0].io.inputRemote | BIT | 1 | 148 | 1 | 74
Application.GVL_MOTORES.motor[0].io.inputOn | BIT | 1 | 148 | 2 | 74
Application.GVL_MOTORES.motor[0].io.inputFlt | BIT | 1 | 148 | 3 | 74
Application.GVL_MOTORES.motor[0].io.inputEmergency | BIT | 1 | 148 | 4 | 74
Application.GVL_MOTORES.motor[0].io.inputSelAutoMan | BIT | 1 | 148 | 5 | 74
Application.GVL_MOTORES.motor[0].io.z_reserveDI[0] | BYTE | 1 | 149 |  | 74
Application.GVL_MOTORES.motor[0].io.z_reserveDI[1] | BYTE | 1 | 150 |  | 75
Application.GVL_MOTORES.motor[0].io.z_reserveDI[2] | BYTE | 1 | 151 |  | 75
Application.GVL_MOTORES.motor[0].io.outputOn | BIT | 1 | 152 | 0 | 76
Application.GVL_MOTORES.motor[0].io.outputReset | BIT | 1 | 152 | 1 | 76
Application.GVL_MOTORES.motor[0].io.outputSelect | BIT | 1 | 152 | 2 | 76
Application.GVL_MOTORES.motor[0].io.z_reserveDO[0] | BYTE | 1 | 153 |  | 76
Application.GVL_MOTORES.motor[0].io.z_reserveDO[1] | BYTE | 1 | 154 |  | 77
Application.GVL_MOTORES.motor[0].io.z_reserveDO[2] | BYTE | 1 | 155 |  | 77
Application.GVL_MOTORES.motor[0].io.analogInputFrequencty | INT | 2 | 156 |  | 78
Application.GVL_MOTORES.motor[0].io.analogInputCurrent | INT | 2 | 158 |  | 79
Application.GVL_MOTORES.motor[0].io.z_reserveAI[0] | INT | 2 | 160 |  | 80
Application.GVL_MOTORES.motor[0].io.z_reserveAI[1] | INT | 2 | 162 |  | 81
Application.GVL_MOTORES.motor[0].io.z_reserveAI[2] | INT | 2 | 164 |  | 82
Application.GVL_MOTORES.motor[0].io.z_reserveAI[3] | INT | 2 | 166 |  | 83
Application.GVL_MOTORES.motor[0].io.z_reserveAI[4] | INT | 2 | 168 |  | 84
Application.GVL_MOTORES.motor[0].io.z_reserveAI[5] | INT | 2 | 170 |  | 85
Application.GVL_MOTORES.motor[0].io.analogOutputFrequency | INT | 2 | 172 |  | 86
Application.GVL_MOTORES.motor[0].io.z_reserveAO[0] | INT | 2 | 174 |  | 87
Application.GVL_MOTORES.motor[0].io.z_reserveAO[1] | INT | 2 | 176 |  | 88
Application.GVL_MOTORES.motor[0].io.z_reserveAO[2] | INT | 2 | 178 |  | 89
Application.GVL_MOTORES.motor[0].io.z_reserveAO[3] | INT | 2 | 180 |  | 90
Application.GVL_MOTORES.motor[0].io.z_reserveAO[4] | INT | 2 | 182 |  | 91
Application.GVL_MOTORES.motor[0].io.z_reserveAO[5] | INT | 2 | 184 |  | 92
Application.GVL_MOTORES.motor[0].io.z_reserveAO[6] | INT | 2 | 186 |  | 93
Application.GVL_MOTORES.motor[0].io.frequencyOutUE | REAL | 4 | 188 |  | 94
Application.GVL_MOTORES.motor[0].io.z_reserve1[0] | INT | 2 | 192 |  | 96
Application.GVL_MOTORES.motor[0].io.z_reserve1[1] | INT | 2 | 194 |  | 97
Application.GVL_MOTORES.motor[0].io.z_reserve1[2] | INT | 2 | 196 |  | 98
Application.GVL_MOTORES.motor[0].io.z_reserve1[3] | INT | 2 | 198 |  | 99
Application.GVL_MOTORES.motor[0].io.z_reserve1[4] | INT | 2 | 200 |  | 100
Application.GVL_MOTORES.motor[0].io.z_reserve1[5] | INT | 2 | 202 |  | 101
Application.GVL_MOTORES.motor[0].pv.onTime | REAL | 4 | 204 |  | 102
Application.GVL_MOTORES.motor[0].pv.offTime | REAL | 4 | 208 |  | 104
Application.GVL_MOTORES.motor[0].pv.frequency | REAL | 4 | 212 |  | 106
Application.GVL_MOTORES.motor[0].pv.velocity | REAL | 4 | 216 |  | 108
Application.GVL_MOTORES.motor[0].pv.current | REAL | 4 | 220 |  | 110
Application.GVL_MOTORES.motor[0].pv.voltage | REAL | 4 | 224 |  | 112
Application.GVL_MOTORES.motor[0].pv.power | REAL | 4 | 228 |  | 114
Application.GVL_MOTORES.motor[0].pv.torque | REAL | 4 | 232 |  | 116
Application.GVL_MOTORES.motor[0].pv.temperature | REAL | 4 | 236 |  | 118
Application.GVL_MOTORES.motor[0].pv.workTime | REAL | 4 | 240 |  | 120
Application.GVL_MOTORES.motor[0].pv.shiftTime | REAL | 4 | 244 |  | 122
Application.GVL_MOTORES.motor[0].pv.startCount | UINT | 2 | 248 |  | 124
Application.GVL_MOTORES.motor[0].pv.digitalInputs | WORD | 2 | 250 |  | 125
Application.GVL_MOTORES.motor[0].pv.analogInput1 | INT | 2 | 252 |  | 126
Application.GVL_MOTORES.motor[0].pv.analogInput2 | INT | 2 | 254 |  | 127
Application.GVL_MOTORES.motor[0].pv.analogInput1MinScale | INT | 2 | 256 |  | 128
Application.GVL_MOTORES.motor[0].pv.analogInput1MaxScale | INT | 2 | 258 |  | 129
Application.GVL_MOTORES.motor[0].pv.analogInput2MinScale | INT | 2 | 260 |  | 130
Application.GVL_MOTORES.motor[0].pv.analogInput2MaxScale | INT | 2 | 262 |  | 131
Application.GVL_MOTORES.motor[0].pv.z_reserve[0] | BYTE | 1 | 264 |  | 132
Application.GVL_MOTORES.motor[0].pv.z_reserve[1] | BYTE | 1 | 265 |  | 132
Application.GVL_MOTORES.motor[0].pv.z_reserve[2] | BYTE | 1 | 266 |  | 133
Application.GVL_MOTORES.motor[0].pv.z_reserve[3] | BYTE | 1 | 267 |  | 133
Application.GVL_MOTORES.motor[0].pv.z_reserve[4] | BYTE | 1 | 268 |  | 134
Application.GVL_MOTORES.motor[0].pv.z_reserve[5] | BYTE | 1 | 269 |  | 134
Application.GVL_MOTORES.motor[0].pv.z_reserve[6] | BYTE | 1 | 270 |  | 135
Application.GVL_MOTORES.motor[0].pv.z_reserve[7] | BYTE | 1 | 271 |  | 135
Application.GVL_MOTORES.motor[0].pv.z_reserve[8] | BYTE | 1 | 272 |  | 136
Application.GVL_MOTORES.motor[0].pv.z_reserve[9] | BYTE | 1 | 273 |  | 136
Application.GVL_MOTORES.motor[0].pv.z_reserve[10] | BYTE | 1 | 274 |  | 137
Application.GVL_MOTORES.motor[0].pv.z_reserve[11] | BYTE | 1 | 275 |  | 137
Application.GVL_MOTORES.motor[0].pv.z_reserve[12] | BYTE | 1 | 276 |  | 138
Application.GVL_MOTORES.motor[0].pv.z_reserve[13] | BYTE | 1 | 277 |  | 138
Application.GVL_MOTORES.motor[0].pv.z_reserve[14] | BYTE | 1 | 278 |  | 139
Application.GVL_MOTORES.motor[0].pv.z_reserve[15] | BYTE | 1 | 279 |  | 139
Application.GVL_MOTORES.motor[0].pv.z_reserve[16] | BYTE | 1 | 280 |  | 140
Application.GVL_MOTORES.motor[0].pv.z_reserve[17] | BYTE | 1 | 281 |  | 140
Application.GVL_MOTORES.motor[0].pv.z_reserve[18] | BYTE | 1 | 282 |  | 141
Application.GVL_MOTORES.motor[0].pv.z_reserve[19] | BYTE | 1 | 283 |  | 141
Application.GVL_MOTORES.motor[0].sp.onTime | REAL | 4 | 284 |  | 142
Application.GVL_MOTORES.motor[0].sp.offTime | REAL | 4 | 288 |  | 144
Application.GVL_MOTORES.motor[0].sp.shiftTime | REAL | 4 | 292 |  | 146
Application.GVL_MOTORES.motor[0].sp.sleep | REAL | 4 | 296 |  | 148
Application.GVL_MOTORES.motor[0].sp.frequencyFixed | REAL | 4 | 300 |  | 150
Application.GVL_MOTORES.motor[0].sp.frequencyPID | REAL | 4 | 304 |  | 152
Application.GVL_MOTORES.motor[0].sp.sleepFrequency | REAL | 4 | 308 |  | 154
Application.GVL_MOTORES.motor[0].sp.almCurrentHigh | REAL | 4 | 312 |  | 156
Application.GVL_MOTORES.motor[0].sp.almCurrentLow | REAL | 4 | 316 |  | 158
Application.GVL_MOTORES.motor[0].sp.fixedDosage | REAL | 4 | 320 |  | 160
Application.GVL_MOTORES.motor[0].sp.z_reserve[0] | BYTE | 1 | 324 |  | 162
Application.GVL_MOTORES.motor[0].sp.z_reserve[1] | BYTE | 1 | 325 |  | 162
Application.GVL_MOTORES.motor[0].sp.z_reserve[2] | BYTE | 1 | 326 |  | 163
Application.GVL_MOTORES.motor[0].sp.z_reserve[3] | BYTE | 1 | 327 |  | 163
Application.GVL_MOTORES.motor[0].sp.z_reserve[4] | BYTE | 1 | 328 |  | 164
Application.GVL_MOTORES.motor[0].sp.z_reserve[5] | BYTE | 1 | 329 |  | 164
Application.GVL_MOTORES.motor[0].sp.z_reserve[6] | BYTE | 1 | 330 |  | 165
Application.GVL_MOTORES.motor[0].sp.z_reserve[7] | BYTE | 1 | 331 |  | 165
Application.GVL_MOTORES.motor[0].sp.z_reserve[8] | BYTE | 1 | 332 |  | 166
Application.GVL_MOTORES.motor[0].sp.z_reserve[9] | BYTE | 1 | 333 |  | 166
Application.GVL_MOTORES.motor[0].sp.z_reserve[10] | BYTE | 1 | 334 |  | 167
Application.GVL_MOTORES.motor[0].sp.z_reserve[11] | BYTE | 1 | 335 |  | 167
Application.GVL_MOTORES.motor[0].sp.z_reserve[12] | BYTE | 1 | 336 |  | 168
Application.GVL_MOTORES.motor[0].sp.z_reserve[13] | BYTE | 1 | 337 |  | 168
Application.GVL_MOTORES.motor[0].sp.z_reserve[14] | BYTE | 1 | 338 |  | 169
Application.GVL_MOTORES.motor[0].sp.z_reserve[15] | BYTE | 1 | 339 |  | 169
Application.GVL_MOTORES.motor[0].sts.on | BIT | 1 | 340 | 0 | 170
Application.GVL_MOTORES.motor[0].sts.auto | BIT | 1 | 340 | 1 | 170
Application.GVL_MOTORES.motor[0].sts.manual | BIT | 1 | 340 | 2 | 170
Application.GVL_MOTORES.motor[0].sts.remote | BIT | 1 | 340 | 3 | 170
Application.GVL_MOTORES.motor[0].sts.local | BIT | 1 | 340 | 4 | 170
Application.GVL_MOTORES.motor[0].sts.desabilited | BIT | 1 | 340 | 5 | 170
Application.GVL_MOTORES.motor[0].sts.maintenance | BIT | 1 | 340 | 6 | 170
Application.GVL_MOTORES.motor[0].sts.ready | BIT | 1 | 340 | 7 | 170
Application.GVL_MOTORES.motor[0].sts.interlock | BIT | 1 | 341 | 0 | 170
Application.GVL_MOTORES.motor[0].sts.alm | BIT | 1 | 341 | 1 | 170
Application.GVL_MOTORES.motor[0].sts.flt | BIT | 1 | 341 | 2 | 170
Application.GVL_MOTORES.motor[0].sts.selected | BIT | 1 | 341 | 3 | 170
Application.GVL_MOTORES.motor[0].sts.main | BIT | 1 | 341 | 4 | 170
Application.GVL_MOTORES.motor[0].sts.complementar | BIT | 1 | 341 | 5 | 170
Application.GVL_MOTORES.motor[0].sts.backup | BIT | 1 | 341 | 6 | 170
Application.GVL_MOTORES.motor[0].sts.referencyPID | BIT | 1 | 341 | 7 | 170
Application.GVL_MOTORES.motor[0].sts.referencyFixed | BIT | 1 | 342 | 0 | 171
Application.GVL_MOTORES.motor[0].sts.availeableAuto | BIT | 1 | 342 | 1 | 171
Application.GVL_MOTORES.motor[0].sts.driveIHM | BIT | 1 | 342 | 2 | 171
Application.GVL_MOTORES.motor[0].sts.driveRemote | BIT | 1 | 342 | 3 | 171
Application.GVL_MOTORES.motor[0].sts.driveSTO | BIT | 1 | 342 | 4 | 171
Application.GVL_MOTORES.motor[0].sts.driveReady | BIT | 1 | 342 | 5 | 171
Application.GVL_MOTORES.motor[0].sts.z_reserve | BYTE | 1 | 343 |  | 171
Application.GVL_MOTORES.motor[1].alm.currentMeasurement | BIT | 1 | 344 | 0 | 172
Application.GVL_MOTORES.motor[1].alm.currentMeasurementOverflow | BIT | 1 | 344 | 1 | 172
Application.GVL_MOTORES.motor[1].alm.currentMeasurementUnderflow | BIT | 1 | 344 | 2 | 172
Application.GVL_MOTORES.motor[1].alm.frequencyMeasurement | BIT | 1 | 344 | 3 | 172
Application.GVL_MOTORES.motor[1].alm.frequencyMeasurementOverflow | BIT | 1 | 344 | 4 | 172
Application.GVL_MOTORES.motor[1].alm.frequencyMeasurementUnderflow | BIT | 1 | 344 | 5 | 172
Application.GVL_MOTORES.motor[1].alm.currentOverload | BIT | 1 | 344 | 6 | 172
Application.GVL_MOTORES.motor[1].alm.currentUnderload | BIT | 1 | 344 | 7 | 172
Application.GVL_MOTORES.motor[1].alm.autoResetMaxAttempt | BIT | 1 | 345 | 0 | 172
Application.GVL_MOTORES.motor[1].alm.excededMaxRuntime | BIT | 1 | 345 | 1 | 172
Application.GVL_MOTORES.motor[1].alm.fieldbusComm | BIT | 1 | 345 | 2 | 172
Application.GVL_MOTORES.motor[1].alm.driveLocalCmd | BIT | 1 | 345 | 3 | 172
Application.GVL_MOTORES.motor[1].alm.localWithActiveCmd | BIT | 1 | 345 | 4 | 172
Application.GVL_MOTORES.motor[1].alm.cmdWithWrongMode | BIT | 1 | 345 | 5 | 172
Application.GVL_MOTORES.motor[1].alm.z_reserve[0] | BYTE | 1 | 346 |  | 173
Application.GVL_MOTORES.motor[1].alm.z_reserve[1] | BYTE | 1 | 347 |  | 173
Application.GVL_MOTORES.motor[1].cmd.auto | BIT | 1 | 348 | 0 | 174
Application.GVL_MOTORES.motor[1].cmd.startManual | BIT | 1 | 348 | 1 | 174
Application.GVL_MOTORES.motor[1].cmd.startAuto | BIT | 1 | 348 | 2 | 174
Application.GVL_MOTORES.motor[1].cmd.fltReset | BIT | 1 | 348 | 3 | 174
Application.GVL_MOTORES.motor[1].cmd.almReset | BIT | 1 | 348 | 4 | 174
Application.GVL_MOTORES.motor[1].cmd.workTimeReset | BIT | 1 | 348 | 5 | 174
Application.GVL_MOTORES.motor[1].cmd.maintenance | BIT | 1 | 348 | 6 | 174
Application.GVL_MOTORES.motor[1].cmd.pidAuto | BIT | 1 | 348 | 7 | 174
Application.GVL_MOTORES.motor[1].cmd.disableEquipment | BIT | 1 | 349 | 0 | 174
Application.GVL_MOTORES.motor[1].cmd.disableFieldbusComm | BIT | 1 | 349 | 1 | 174
Application.GVL_MOTORES.motor[1].cmd.updateComParameters | BIT | 1 | 349 | 2 | 174
Application.GVL_MOTORES.motor[1].cmd.cancelUpdateComParameters | BIT | 1 | 349 | 3 | 174
Application.GVL_MOTORES.motor[1].cmd.updateRegistersUse | BIT | 1 | 349 | 4 | 174
Application.GVL_MOTORES.motor[1].cmd.resetStartCount | BIT | 1 | 349 | 5 | 174
Application.GVL_MOTORES.motor[1].cmd.z_reserve[0] | BYTE | 1 | 350 |  | 175
Application.GVL_MOTORES.motor[1].cmd.z_reserve[1] | BYTE | 1 | 351 |  | 175
Application.GVL_MOTORES.motor[1].cfg.autoFltReset | BIT | 1 | 352 | 0 | 176
Application.GVL_MOTORES.motor[1].cfg.autoAlmReset | BIT | 1 | 352 | 1 | 176
Application.GVL_MOTORES.motor[1].cfg.selLocRemoteType | BIT | 1 | 352 | 2 | 176
Application.GVL_MOTORES.motor[1].cfg.selAutoManual | BIT | 1 | 352 | 3 | 176
Application.GVL_MOTORES.motor[1].cfg.refOnTime | BIT | 1 | 352 | 4 | 176
Application.GVL_MOTORES.motor[1].cfg.refWorkTime | BIT | 1 | 352 | 5 | 176
Application.GVL_MOTORES.motor[1].cfg.refPvFrequency | BIT | 1 | 352 | 6 | 176
Application.GVL_MOTORES.motor[1].cfg.refPvCurrent | BIT | 1 | 352 | 7 | 176
Application.GVL_MOTORES.motor[1].cfg.refStsOn | BIT | 1 | 353 | 0 | 176
Application.GVL_MOTORES.motor[1].cfg.refCmdOn | BIT | 1 | 353 | 1 | 176
Application.GVL_MOTORES.motor[1].cfg.refSpFrequency | BIT | 1 | 353 | 2 | 176
Application.GVL_MOTORES.motor[1].cfg.refFreqLimits | BIT | 1 | 353 | 3 | 176
Application.GVL_MOTORES.motor[1].cfg.refInterlockEmergency | BIT | 1 | 353 | 4 | 176
Application.GVL_MOTORES.motor[1].cfg.refIOStatus | BIT | 1 | 353 | 5 | 176
Application.GVL_MOTORES.motor[1].cfg.z_reserve1[0] | BYTE | 1 | 354 |  | 177
Application.GVL_MOTORES.motor[1].cfg.z_reserve1[1] | BYTE | 1 | 355 |  | 177
Application.GVL_MOTORES.motor[1].cfg.autoFltResetTime | UINT | 2 | 356 |  | 178
Application.GVL_MOTORES.motor[1].cfg.autoAlmResetTime | UINT | 2 | 358 |  | 179
Application.GVL_MOTORES.motor[1].cfg.maxAutoFltResetTry | UINT | 2 | 360 |  | 180
Application.GVL_MOTORES.motor[1].cfg.analogMinValue | INT | 2 | 362 |  | 181
Application.GVL_MOTORES.motor[1].cfg.analogMaxValue | INT | 2 | 364 |  | 182
Application.GVL_MOTORES.motor[1].cfg.startStopFltTime | UINT | 2 | 366 |  | 183
Application.GVL_MOTORES.motor[1].cfg.z_reserve2[0] | BYTE | 1 | 368 |  | 184
Application.GVL_MOTORES.motor[1].cfg.z_reserve2[1] | BYTE | 1 | 369 |  | 184
Application.GVL_MOTORES.motor[1].cfg.z_reserve2[2] | BYTE | 1 | 370 |  | 185
Application.GVL_MOTORES.motor[1].cfg.z_reserve2[3] | BYTE | 1 | 371 |  | 185
Application.GVL_MOTORES.motor[1].cfg.analogInputMinFrequency | REAL | 4 | 372 |  | 186
Application.GVL_MOTORES.motor[1].cfg.analogInputMaxFrequency | REAL | 4 | 376 |  | 188
Application.GVL_MOTORES.motor[1].cfg.analogInputMinCurrent | REAL | 4 | 380 |  | 190
Application.GVL_MOTORES.motor[1].cfg.analogInputMaxCurrent | REAL | 4 | 384 |  | 192
Application.GVL_MOTORES.motor[1].cfg.frequencyMax | REAL | 4 | 388 |  | 194
Application.GVL_MOTORES.motor[1].cfg.frequencyMin | REAL | 4 | 392 |  | 196
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[0] | BYTE | 1 | 396 |  | 198
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[1] | BYTE | 1 | 397 |  | 198
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[2] | BYTE | 1 | 398 |  | 199
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[3] | BYTE | 1 | 399 |  | 199
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[4] | BYTE | 1 | 400 |  | 200
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[5] | BYTE | 1 | 401 |  | 200
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[6] | BYTE | 1 | 402 |  | 201
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[7] | BYTE | 1 | 403 |  | 201
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[8] | BYTE | 1 | 404 |  | 202
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[9] | BYTE | 1 | 405 |  | 202
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[10] | BYTE | 1 | 406 |  | 203
Application.GVL_MOTORES.motor[1].cfg.z_reserve3[11] | BYTE | 1 | 407 |  | 203
Application.GVL_MOTORES.motor[1].comParameters.paralelProcessing | BIT | 1 | 408 | 0 | 204
Application.GVL_MOTORES.motor[1].comParameters.byteOrder | BIT | 1 | 408 | 1 | 204
Application.GVL_MOTORES.motor[1].comParameters.disableWhenComError | BIT | 1 | 408 | 2 | 204
Application.GVL_MOTORES.motor[1].comParameters.z_reserve[0] | BYTE | 1 | 409 |  | 204
Application.GVL_MOTORES.motor[1].comParameters.z_reserve[1] | BYTE | 1 | 410 |  | 205
Application.GVL_MOTORES.motor[1].comParameters.z_reserve[2] | BYTE | 1 | 411 |  | 205
Application.GVL_MOTORES.motor[1].comParameters.comType | BYTE | 1 | 412 |  | 206
Application.GVL_MOTORES.motor[1].comParameters.interfaceID | BYTE | 1 | 413 |  | 206
Application.GVL_MOTORES.motor[1].comParameters.adress | BYTE | 1 | 414 |  | 207
Application.GVL_MOTORES.motor[1].comParameters.unitID | BYTE | 1 | 415 |  | 207
Application.GVL_MOTORES.motor[1].comParameters.timeComDisable | UINT | 2 | 416 |  | 208
Application.GVL_MOTORES.motor[1].comParameters.tcpPort | WORD | 2 | 418 |  | 209
Application.GVL_MOTORES.motor[1].comParameters.registerTimeout | WORD | 2 | 420 |  | 210
Application.GVL_MOTORES.motor[1].comParameters.connectTimeout | WORD | 2 | 422 |  | 211
Application.GVL_MOTORES.motor[1].comParameters.ipAdress[0] | BYTE | 1 | 424 |  | 212
Application.GVL_MOTORES.motor[1].comParameters.ipAdress[1] | BYTE | 1 | 425 |  | 212
Application.GVL_MOTORES.motor[1].comParameters.ipAdress[2] | BYTE | 1 | 426 |  | 213
Application.GVL_MOTORES.motor[1].comParameters.ipAdress[3] | BYTE | 1 | 427 |  | 213
Application.GVL_MOTORES.motor[1].disable.alm.currentMeasurement | BIT | 1 | 428 | 0 | 214
Application.GVL_MOTORES.motor[1].disable.alm.currentMeasurementOverflow | BIT | 1 | 428 | 1 | 214
Application.GVL_MOTORES.motor[1].disable.alm.currentMeasurementUnderflow | BIT | 1 | 428 | 2 | 214
Application.GVL_MOTORES.motor[1].disable.alm.frequencyMeasurement | BIT | 1 | 428 | 3 | 214
Application.GVL_MOTORES.motor[1].disable.alm.frequencyMeasurementOverflow | BIT | 1 | 428 | 4 | 214
Application.GVL_MOTORES.motor[1].disable.alm.frequencyMeasurementUnderflow | BIT | 1 | 428 | 5 | 214
Application.GVL_MOTORES.motor[1].disable.alm.currentOverload | BIT | 1 | 428 | 6 | 214
Application.GVL_MOTORES.motor[1].disable.alm.currentUnderload | BIT | 1 | 428 | 7 | 214
Application.GVL_MOTORES.motor[1].disable.alm.autoResetMaxAttempt | BIT | 1 | 429 | 0 | 214
Application.GVL_MOTORES.motor[1].disable.alm.excededMaxRuntime | BIT | 1 | 429 | 1 | 214
Application.GVL_MOTORES.motor[1].disable.alm.fieldbusComm | BIT | 1 | 429 | 2 | 214
Application.GVL_MOTORES.motor[1].disable.alm.driveLocalCmd | BIT | 1 | 429 | 3 | 214
Application.GVL_MOTORES.motor[1].disable.alm.localWithActiveCmd | BIT | 1 | 429 | 4 | 214
Application.GVL_MOTORES.motor[1].disable.alm.cmdWithWrongMode | BIT | 1 | 429 | 5 | 214
Application.GVL_MOTORES.motor[1].disable.alm.z_reserve[0] | BYTE | 1 | 430 |  | 215
Application.GVL_MOTORES.motor[1].disable.alm.z_reserve[1] | BYTE | 1 | 431 |  | 215
Application.GVL_MOTORES.motor[1].disable.flt.driveFailure | BIT | 1 | 432 | 0 | 216
Application.GVL_MOTORES.motor[1].disable.flt.protectionUnitTrip | BIT | 1 | 432 | 1 | 216
Application.GVL_MOTORES.motor[1].disable.flt.breakerTripped | BIT | 1 | 432 | 2 | 216
Application.GVL_MOTORES.motor[1].disable.flt.lackOfPhase | BIT | 1 | 432 | 3 | 216
Application.GVL_MOTORES.motor[1].disable.flt.startFailure | BIT | 1 | 432 | 4 | 216
Application.GVL_MOTORES.motor[1].disable.flt.stopFailure | BIT | 1 | 432 | 5 | 216
Application.GVL_MOTORES.motor[1].disable.flt.fieldbusCommFail | BIT | 1 | 432 | 6 | 216
Application.GVL_MOTORES.motor[1].disable.flt.localRemoteSelect | BIT | 1 | 432 | 7 | 216
Application.GVL_MOTORES.motor[1].disable.flt.motorOvertempTrip | BIT | 1 | 433 | 0 | 216
Application.GVL_MOTORES.motor[1].disable.flt.driveOvertempTrip | BIT | 1 | 433 | 1 | 216
Application.GVL_MOTORES.motor[1].disable.flt.torqueLimitTrip | BIT | 1 | 433 | 2 | 216
Application.GVL_MOTORES.motor[1].disable.flt.overcurrentTrip | BIT | 1 | 433 | 3 | 216
Application.GVL_MOTORES.motor[1].disable.flt.overvoltageTrip | BIT | 1 | 433 | 4 | 216
Application.GVL_MOTORES.motor[1].disable.flt.undervoltageTrip | BIT | 1 | 433 | 5 | 216
Application.GVL_MOTORES.motor[1].disable.flt.groundFault | BIT | 1 | 433 | 6 | 216
Application.GVL_MOTORES.motor[1].disable.flt.z_reserve[0] | BYTE | 1 | 434 |  | 217
Application.GVL_MOTORES.motor[1].disable.flt.z_reserve[1] | BYTE | 1 | 435 |  | 217
Application.GVL_MOTORES.motor[1].equip.name | STRING | 12 | 436 |  | 218
Application.GVL_MOTORES.motor[1].equip.equipmentType | UINT | 2 | 448 |  | 224
Application.GVL_MOTORES.motor[1].equip.equipmentStatus | UINT | 2 | 450 |  | 225
Application.GVL_MOTORES.motor[1].equip.operationMode | UINT | 2 | 452 |  | 226
Application.GVL_MOTORES.motor[1].equip.operationSwitch | UINT | 2 | 454 |  | 227
Application.GVL_MOTORES.motor[1].equip.actualFaultCode | UINT | 2 | 456 |  | 228
Application.GVL_MOTORES.motor[1].equip.lastFaultCode | UINT | 2 | 458 |  | 229
Application.GVL_MOTORES.motor[1].equip.severity | UINT | 2 | 460 |  | 230
Application.GVL_MOTORES.motor[1].equip.driveFaultCode | UINT | 2 | 462 |  | 231
Application.GVL_MOTORES.motor[1].equip.interlockCode | UINT | 2 | 464 |  | 232
Application.GVL_MOTORES.motor[1].equip.almCode | UINT | 2 | 466 |  | 233
Application.GVL_MOTORES.motor[1].equip.startCout | UDINT | 4 | 468 |  | 234
Application.GVL_MOTORES.motor[1].equip.worktime | REAL | 4 | 472 |  | 236
Application.GVL_MOTORES.motor[1].equip.z_reserve[0] | BYTE | 1 | 476 |  | 238
Application.GVL_MOTORES.motor[1].equip.z_reserve[1] | BYTE | 1 | 477 |  | 238
Application.GVL_MOTORES.motor[1].equip.z_reserve[2] | BYTE | 1 | 478 |  | 239
Application.GVL_MOTORES.motor[1].equip.z_reserve[3] | BYTE | 1 | 479 |  | 239
Application.GVL_MOTORES.motor[1].equip.z_reserve[4] | BYTE | 1 | 480 |  | 240
Application.GVL_MOTORES.motor[1].equip.z_reserve[5] | BYTE | 1 | 481 |  | 240
Application.GVL_MOTORES.motor[1].equip.z_reserve[6] | BYTE | 1 | 482 |  | 241
Application.GVL_MOTORES.motor[1].equip.z_reserve[7] | BYTE | 1 | 483 |  | 241
Application.GVL_MOTORES.motor[1].flt.driveFailure | BIT | 1 | 484 | 0 | 242
Application.GVL_MOTORES.motor[1].flt.protectionUnitTrip | BIT | 1 | 484 | 1 | 242
Application.GVL_MOTORES.motor[1].flt.breakerTripped | BIT | 1 | 484 | 2 | 242
Application.GVL_MOTORES.motor[1].flt.lackOfPhase | BIT | 1 | 484 | 3 | 242
Application.GVL_MOTORES.motor[1].flt.startFailure | BIT | 1 | 484 | 4 | 242
Application.GVL_MOTORES.motor[1].flt.stopFailure | BIT | 1 | 484 | 5 | 242
Application.GVL_MOTORES.motor[1].flt.fieldbusCommFail | BIT | 1 | 484 | 6 | 242
Application.GVL_MOTORES.motor[1].flt.localRemoteSelect | BIT | 1 | 484 | 7 | 242
Application.GVL_MOTORES.motor[1].flt.motorOvertempTrip | BIT | 1 | 485 | 0 | 242
Application.GVL_MOTORES.motor[1].flt.driveOvertempTrip | BIT | 1 | 485 | 1 | 242
Application.GVL_MOTORES.motor[1].flt.torqueLimitTrip | BIT | 1 | 485 | 2 | 242
Application.GVL_MOTORES.motor[1].flt.overcurrentTrip | BIT | 1 | 485 | 3 | 242
Application.GVL_MOTORES.motor[1].flt.overvoltageTrip | BIT | 1 | 485 | 4 | 242
Application.GVL_MOTORES.motor[1].flt.undervoltageTrip | BIT | 1 | 485 | 5 | 242
Application.GVL_MOTORES.motor[1].flt.groundFault | BIT | 1 | 485 | 6 | 242
Application.GVL_MOTORES.motor[1].flt.z_reserve[0] | BYTE | 1 | 486 |  | 243
Application.GVL_MOTORES.motor[1].flt.z_reserve[1] | BYTE | 1 | 487 |  | 243
Application.GVL_MOTORES.motor[1].interlock.lowLevel | BIT | 1 | 488 | 0 | 244
Application.GVL_MOTORES.motor[1].interlock.highLevel | BIT | 1 | 488 | 1 | 244
Application.GVL_MOTORES.motor[1].interlock.lowPressure | BIT | 1 | 488 | 2 | 244
Application.GVL_MOTORES.motor[1].interlock.highPressure | BIT | 1 | 488 | 3 | 244
Application.GVL_MOTORES.motor[1].interlock.lowFlow | BIT | 1 | 488 | 4 | 244
Application.GVL_MOTORES.motor[1].interlock.highFlow | BIT | 1 | 488 | 5 | 244
Application.GVL_MOTORES.motor[1].interlock._emergencyStop | BIT | 1 | 488 | 6 | 244
Application.GVL_MOTORES.motor[1].interlock._driveSto | BIT | 1 | 488 | 7 | 244
Application.GVL_MOTORES.motor[1].interlock._waitingTimeBetweenStarts | BIT | 1 | 489 | 0 | 244
Application.GVL_MOTORES.motor[1].interlock._process | BIT | 1 | 489 | 1 | 244
Application.GVL_MOTORES.motor[1].interlock._waitingStoppingMotor | BIT | 1 | 489 | 2 | 244
Application.GVL_MOTORES.motor[1].interlock._localRemoteSelect | BIT | 1 | 489 | 3 | 244
Application.GVL_MOTORES.motor[1].interlock.afterValve | BIT | 1 | 489 | 4 | 244
Application.GVL_MOTORES.motor[1].interlock.beforeValve | BIT | 1 | 489 | 5 | 244
Application.GVL_MOTORES.motor[1].interlock.exaustPressureSwitch | BIT | 1 | 489 | 6 | 244
Application.GVL_MOTORES.motor[1].interlock.intakePressureSwitch | BIT | 1 | 489 | 7 | 244
Application.GVL_MOTORES.motor[1].interlock.floaterLow | BIT | 1 | 490 | 0 | 245
Application.GVL_MOTORES.motor[1].interlock.floaterHigh | BIT | 1 | 490 | 1 | 245
Application.GVL_MOTORES.motor[1].interlock.fluxostat | BIT | 1 | 490 | 2 | 245
Application.GVL_MOTORES.motor[1].interlock.shiftLogic | BIT | 1 | 490 | 3 | 245
Application.GVL_MOTORES.motor[1].interlock.lostCom | BIT | 1 | 490 | 4 | 245
Application.GVL_MOTORES.motor[1].interlock.z_reserve[0] | BYTE | 1 | 491 |  | 245
Application.GVL_MOTORES.motor[1].io.inputLocal | BIT | 1 | 492 | 0 | 246
Application.GVL_MOTORES.motor[1].io.inputRemote | BIT | 1 | 492 | 1 | 246
Application.GVL_MOTORES.motor[1].io.inputOn | BIT | 1 | 492 | 2 | 246
Application.GVL_MOTORES.motor[1].io.inputFlt | BIT | 1 | 492 | 3 | 246
Application.GVL_MOTORES.motor[1].io.inputEmergency | BIT | 1 | 492 | 4 | 246
Application.GVL_MOTORES.motor[1].io.inputSelAutoMan | BIT | 1 | 492 | 5 | 246
Application.GVL_MOTORES.motor[1].io.z_reserveDI[0] | BYTE | 1 | 493 |  | 246
Application.GVL_MOTORES.motor[1].io.z_reserveDI[1] | BYTE | 1 | 494 |  | 247
Application.GVL_MOTORES.motor[1].io.z_reserveDI[2] | BYTE | 1 | 495 |  | 247
Application.GVL_MOTORES.motor[1].io.outputOn | BIT | 1 | 496 | 0 | 248
Application.GVL_MOTORES.motor[1].io.outputReset | BIT | 1 | 496 | 1 | 248
Application.GVL_MOTORES.motor[1].io.outputSelect | BIT | 1 | 496 | 2 | 248
Application.GVL_MOTORES.motor[1].io.z_reserveDO[0] | BYTE | 1 | 497 |  | 248
Application.GVL_MOTORES.motor[1].io.z_reserveDO[1] | BYTE | 1 | 498 |  | 249
Application.GVL_MOTORES.motor[1].io.z_reserveDO[2] | BYTE | 1 | 499 |  | 249
Application.GVL_MOTORES.motor[1].io.analogInputFrequencty | INT | 2 | 500 |  | 250
Application.GVL_MOTORES.motor[1].io.analogInputCurrent | INT | 2 | 502 |  | 251
Application.GVL_MOTORES.motor[1].io.z_reserveAI[0] | INT | 2 | 504 |  | 252
Application.GVL_MOTORES.motor[1].io.z_reserveAI[1] | INT | 2 | 506 |  | 253
Application.GVL_MOTORES.motor[1].io.z_reserveAI[2] | INT | 2 | 508 |  | 254
Application.GVL_MOTORES.motor[1].io.z_reserveAI[3] | INT | 2 | 510 |  | 255
Application.GVL_MOTORES.motor[1].io.z_reserveAI[4] | INT | 2 | 512 |  | 256
Application.GVL_MOTORES.motor[1].io.z_reserveAI[5] | INT | 2 | 514 |  | 257
Application.GVL_MOTORES.motor[1].io.analogOutputFrequency | INT | 2 | 516 |  | 258
Application.GVL_MOTORES.motor[1].io.z_reserveAO[0] | INT | 2 | 518 |  | 259
Application.GVL_MOTORES.motor[1].io.z_reserveAO[1] | INT | 2 | 520 |  | 260
Application.GVL_MOTORES.motor[1].io.z_reserveAO[2] | INT | 2 | 522 |  | 261
Application.GVL_MOTORES.motor[1].io.z_reserveAO[3] | INT | 2 | 524 |  | 262
Application.GVL_MOTORES.motor[1].io.z_reserveAO[4] | INT | 2 | 526 |  | 263
Application.GVL_MOTORES.motor[1].io.z_reserveAO[5] | INT | 2 | 528 |  | 264
Application.GVL_MOTORES.motor[1].io.z_reserveAO[6] | INT | 2 | 530 |  | 265
Application.GVL_MOTORES.motor[1].io.frequencyOutUE | REAL | 4 | 532 |  | 266
Application.GVL_MOTORES.motor[1].io.z_reserve1[0] | INT | 2 | 536 |  | 268
Application.GVL_MOTORES.motor[1].io.z_reserve1[1] | INT | 2 | 538 |  | 269
Application.GVL_MOTORES.motor[1].io.z_reserve1[2] | INT | 2 | 540 |  | 270
Application.GVL_MOTORES.motor[1].io.z_reserve1[3] | INT | 2 | 542 |  | 271
Application.GVL_MOTORES.motor[1].io.z_reserve1[4] | INT | 2 | 544 |  | 272
Application.GVL_MOTORES.motor[1].io.z_reserve1[5] | INT | 2 | 546 |  | 273
Application.GVL_MOTORES.motor[1].pv.onTime | REAL | 4 | 548 |  | 274
Application.GVL_MOTORES.motor[1].pv.offTime | REAL | 4 | 552 |  | 276
Application.GVL_MOTORES.motor[1].pv.frequency | REAL | 4 | 556 |  | 278
Application.GVL_MOTORES.motor[1].pv.velocity | REAL | 4 | 560 |  | 280
Application.GVL_MOTORES.motor[1].pv.current | REAL | 4 | 564 |  | 282
Application.GVL_MOTORES.motor[1].pv.voltage | REAL | 4 | 568 |  | 284
Application.GVL_MOTORES.motor[1].pv.power | REAL | 4 | 572 |  | 286
Application.GVL_MOTORES.motor[1].pv.torque | REAL | 4 | 576 |  | 288
Application.GVL_MOTORES.motor[1].pv.temperature | REAL | 4 | 580 |  | 290
Application.GVL_MOTORES.motor[1].pv.workTime | REAL | 4 | 584 |  | 292
Application.GVL_MOTORES.motor[1].pv.shiftTime | REAL | 4 | 588 |  | 294
Application.GVL_MOTORES.motor[1].pv.startCount | UINT | 2 | 592 |  | 296
Application.GVL_MOTORES.motor[1].pv.digitalInputs | WORD | 2 | 594 |  | 297
Application.GVL_MOTORES.motor[1].pv.analogInput1 | INT | 2 | 596 |  | 298
Application.GVL_MOTORES.motor[1].pv.analogInput2 | INT | 2 | 598 |  | 299
Application.GVL_MOTORES.motor[1].pv.analogInput1MinScale | INT | 2 | 600 |  | 300
Application.GVL_MOTORES.motor[1].pv.analogInput1MaxScale | INT | 2 | 602 |  | 301
Application.GVL_MOTORES.motor[1].pv.analogInput2MinScale | INT | 2 | 604 |  | 302
Application.GVL_MOTORES.motor[1].pv.analogInput2MaxScale | INT | 2 | 606 |  | 303
Application.GVL_MOTORES.motor[1].pv.z_reserve[0] | BYTE | 1 | 608 |  | 304
Application.GVL_MOTORES.motor[1].pv.z_reserve[1] | BYTE | 1 | 609 |  | 304
Application.GVL_MOTORES.motor[1].pv.z_reserve[2] | BYTE | 1 | 610 |  | 305
Application.GVL_MOTORES.motor[1].pv.z_reserve[3] | BYTE | 1 | 611 |  | 305
Application.GVL_MOTORES.motor[1].pv.z_reserve[4] | BYTE | 1 | 612 |  | 306
Application.GVL_MOTORES.motor[1].pv.z_reserve[5] | BYTE | 1 | 613 |  | 306
Application.GVL_MOTORES.motor[1].pv.z_reserve[6] | BYTE | 1 | 614 |  | 307
Application.GVL_MOTORES.motor[1].pv.z_reserve[7] | BYTE | 1 | 615 |  | 307
Application.GVL_MOTORES.motor[1].pv.z_reserve[8] | BYTE | 1 | 616 |  | 308
Application.GVL_MOTORES.motor[1].pv.z_reserve[9] | BYTE | 1 | 617 |  | 308
Application.GVL_MOTORES.motor[1].pv.z_reserve[10] | BYTE | 1 | 618 |  | 309
Application.GVL_MOTORES.motor[1].pv.z_reserve[11] | BYTE | 1 | 619 |  | 309
Application.GVL_MOTORES.motor[1].pv.z_reserve[12] | BYTE | 1 | 620 |  | 310
Application.GVL_MOTORES.motor[1].pv.z_reserve[13] | BYTE | 1 | 621 |  | 310
Application.GVL_MOTORES.motor[1].pv.z_reserve[14] | BYTE | 1 | 622 |  | 311
Application.GVL_MOTORES.motor[1].pv.z_reserve[15] | BYTE | 1 | 623 |  | 311
Application.GVL_MOTORES.motor[1].pv.z_reserve[16] | BYTE | 1 | 624 |  | 312
Application.GVL_MOTORES.motor[1].pv.z_reserve[17] | BYTE | 1 | 625 |  | 312
Application.GVL_MOTORES.motor[1].pv.z_reserve[18] | BYTE | 1 | 626 |  | 313
Application.GVL_MOTORES.motor[1].pv.z_reserve[19] | BYTE | 1 | 627 |  | 313
Application.GVL_MOTORES.motor[1].sp.onTime | REAL | 4 | 628 |  | 314
Application.GVL_MOTORES.motor[1].sp.offTime | REAL | 4 | 632 |  | 316
Application.GVL_MOTORES.motor[1].sp.shiftTime | REAL | 4 | 636 |  | 318
Application.GVL_MOTORES.motor[1].sp.sleep | REAL | 4 | 640 |  | 320
Application.GVL_MOTORES.motor[1].sp.frequencyFixed | REAL | 4 | 644 |  | 322
Application.GVL_MOTORES.motor[1].sp.frequencyPID | REAL | 4 | 648 |  | 324
Application.GVL_MOTORES.motor[1].sp.sleepFrequency | REAL | 4 | 652 |  | 326
Application.GVL_MOTORES.motor[1].sp.almCurrentHigh | REAL | 4 | 656 |  | 328
Application.GVL_MOTORES.motor[1].sp.almCurrentLow | REAL | 4 | 660 |  | 330
Application.GVL_MOTORES.motor[1].sp.fixedDosage | REAL | 4 | 664 |  | 332
Application.GVL_MOTORES.motor[1].sp.z_reserve[0] | BYTE | 1 | 668 |  | 334
Application.GVL_MOTORES.motor[1].sp.z_reserve[1] | BYTE | 1 | 669 |  | 334
Application.GVL_MOTORES.motor[1].sp.z_reserve[2] | BYTE | 1 | 670 |  | 335
Application.GVL_MOTORES.motor[1].sp.z_reserve[3] | BYTE | 1 | 671 |  | 335
Application.GVL_MOTORES.motor[1].sp.z_reserve[4] | BYTE | 1 | 672 |  | 336
Application.GVL_MOTORES.motor[1].sp.z_reserve[5] | BYTE | 1 | 673 |  | 336
Application.GVL_MOTORES.motor[1].sp.z_reserve[6] | BYTE | 1 | 674 |  | 337
Application.GVL_MOTORES.motor[1].sp.z_reserve[7] | BYTE | 1 | 675 |  | 337
Application.GVL_MOTORES.motor[1].sp.z_reserve[8] | BYTE | 1 | 676 |  | 338
Application.GVL_MOTORES.motor[1].sp.z_reserve[9] | BYTE | 1 | 677 |  | 338
Application.GVL_MOTORES.motor[1].sp.z_reserve[10] | BYTE | 1 | 678 |  | 339
Application.GVL_MOTORES.motor[1].sp.z_reserve[11] | BYTE | 1 | 679 |  | 339
Application.GVL_MOTORES.motor[1].sp.z_reserve[12] | BYTE | 1 | 680 |  | 340
Application.GVL_MOTORES.motor[1].sp.z_reserve[13] | BYTE | 1 | 681 |  | 340
Application.GVL_MOTORES.motor[1].sp.z_reserve[14] | BYTE | 1 | 682 |  | 341
Application.GVL_MOTORES.motor[1].sp.z_reserve[15] | BYTE | 1 | 683 |  | 341
Application.GVL_MOTORES.motor[1].sts.on | BIT | 1 | 684 | 0 | 342
Application.GVL_MOTORES.motor[1].sts.auto | BIT | 1 | 684 | 1 | 342
Application.GVL_MOTORES.motor[1].sts.manual | BIT | 1 | 684 | 2 | 342
Application.GVL_MOTORES.motor[1].sts.remote | BIT | 1 | 684 | 3 | 342
Application.GVL_MOTORES.motor[1].sts.local | BIT | 1 | 684 | 4 | 342
Application.GVL_MOTORES.motor[1].sts.desabilited | BIT | 1 | 684 | 5 | 342
Application.GVL_MOTORES.motor[1].sts.maintenance | BIT | 1 | 684 | 6 | 342
Application.GVL_MOTORES.motor[1].sts.ready | BIT | 1 | 684 | 7 | 342
Application.GVL_MOTORES.motor[1].sts.interlock | BIT | 1 | 685 | 0 | 342
Application.GVL_MOTORES.motor[1].sts.alm | BIT | 1 | 685 | 1 | 342
Application.GVL_MOTORES.motor[1].sts.flt | BIT | 1 | 685 | 2 | 342
Application.GVL_MOTORES.motor[1].sts.selected | BIT | 1 | 685 | 3 | 342
Application.GVL_MOTORES.motor[1].sts.main | BIT | 1 | 685 | 4 | 342
Application.GVL_MOTORES.motor[1].sts.complementar | BIT | 1 | 685 | 5 | 342
Application.GVL_MOTORES.motor[1].sts.backup | BIT | 1 | 685 | 6 | 342
Application.GVL_MOTORES.motor[1].sts.referencyPID | BIT | 1 | 685 | 7 | 342
Application.GVL_MOTORES.motor[1].sts.referencyFixed | BIT | 1 | 686 | 0 | 343
Application.GVL_MOTORES.motor[1].sts.availeableAuto | BIT | 1 | 686 | 1 | 343
Application.GVL_MOTORES.motor[1].sts.driveIHM | BIT | 1 | 686 | 2 | 343
Application.GVL_MOTORES.motor[1].sts.driveRemote | BIT | 1 | 686 | 3 | 343
Application.GVL_MOTORES.motor[1].sts.driveSTO | BIT | 1 | 686 | 4 | 343
Application.GVL_MOTORES.motor[1].sts.driveReady | BIT | 1 | 686 | 5 | 343
Application.GVL_MOTORES.motor[1].sts.z_reserve | BYTE | 1 | 687 |  | 343

## GVL_QA
path | typeclass | size | byteStart | bitoffset | register
Application.GVL_QA.testeBit | BIT | 1 | 100 | 0 | 50
Application.GVL_QA.testeBit2 | BIT | 1 | 100 | 6 | 50
Application.GVL_QA.testeINT | INT | 2 | 4000 |  | 2000
Application.GVL_QA.testeReal | REAL | 4 | 8040 |  | 4020

## GVL_SENSORES
path | typeclass | size | byteStart | bitoffset | register
Application.GVL_SENSORES.sensor[0].alm.freezeReading | BIT | 1 | 800 | 0 | 400
Application.GVL_SENSORES.sensor[0].alm.overflow | BIT | 1 | 800 | 1 | 400
Application.GVL_SENSORES.sensor[0].alm.underflow | BIT | 1 | 800 | 2 | 400
Application.GVL_SENSORES.sensor[0].alm.valueAlmOrder | BIT | 1 | 800 | 3 | 400
Application.GVL_SENSORES.sensor[0].alm.valueHH | BIT | 1 | 800 | 4 | 400
Application.GVL_SENSORES.sensor[0].alm.valueH | BIT | 1 | 800 | 5 | 400
Application.GVL_SENSORES.sensor[0].alm.valueL | BIT | 1 | 800 | 6 | 400
Application.GVL_SENSORES.sensor[0].alm.valueLL | BIT | 1 | 800 | 7 | 400
Application.GVL_SENSORES.sensor[0].alm.hysteresisSpConfig | BIT | 1 | 801 | 0 | 400
Application.GVL_SENSORES.sensor[0].alm.z_reserve[0] | BYTE | 1 | 802 |  | 401
Application.GVL_SENSORES.sensor[0].alm.z_reserve[1] | BYTE | 1 | 803 |  | 401
Application.GVL_SENSORES.sensor[0].cfg.enableHysteresis | BIT | 1 | 804 | 0 | 402
Application.GVL_SENSORES.sensor[0].cfg.autoAlmReset | BIT | 1 | 804 | 1 | 402
Application.GVL_SENSORES.sensor[0].cfg.autoFltReset | BIT | 1 | 804 | 2 | 402
Application.GVL_SENSORES.sensor[0].cfg.valueAlmSource | BIT | 1 | 804 | 3 | 402
Application.GVL_SENSORES.sensor[0].cfg.z_reserve[0] | BYTE | 1 | 805 |  | 402
Application.GVL_SENSORES.sensor[0].cfg.z_reserve[1] | BYTE | 1 | 806 |  | 403
Application.GVL_SENSORES.sensor[0].cfg.z_reserve[2] | BYTE | 1 | 807 |  | 403
Application.GVL_SENSORES.sensor[0].cfg.analogMaxValue | INT | 2 | 808 |  | 404
Application.GVL_SENSORES.sensor[0].cfg.analogMinValue | INT | 2 | 810 |  | 405
Application.GVL_SENSORES.sensor[0].cfg.autoResetAlmTime | UINT | 2 | 812 |  | 406
Application.GVL_SENSORES.sensor[0].cfg.autoResetFltTime | UINT | 2 | 814 |  | 407
Application.GVL_SENSORES.sensor[0].cfg.freezeReadingTime | UINT | 2 | 816 |  | 408
Application.GVL_SENSORES.sensor[0].cfg.z_reserve2[0] | WORD | 2 | 818 |  | 409
Application.GVL_SENSORES.sensor[0].cfg.z_reserve2[1] | WORD | 2 | 820 |  | 410
Application.GVL_SENSORES.sensor[0].cfg.z_reserve2[2] | WORD | 2 | 822 |  | 411
Application.GVL_SENSORES.sensor[0].cfg.alpha | REAL | 4 | 824 |  | 412
Application.GVL_SENSORES.sensor[0].cfg.rawMax | REAL | 4 | 828 |  | 414
Application.GVL_SENSORES.sensor[0].cfg.rawMin | REAL | 4 | 832 |  | 416
Application.GVL_SENSORES.sensor[0].cfg.ueMax | REAL | 4 | 836 |  | 418
Application.GVL_SENSORES.sensor[0].cfg.ueMin | REAL | 4 | 840 |  | 420
Application.GVL_SENSORES.sensor[0].cfg.percentMax | REAL | 4 | 844 |  | 422
Application.GVL_SENSORES.sensor[0].cfg.percentMin | REAL | 4 | 848 |  | 424
Application.GVL_SENSORES.sensor[0].cfg.z_reserve3[0] | REAL | 4 | 852 |  | 426
Application.GVL_SENSORES.sensor[0].cfg.z_reserve3[1] | REAL | 4 | 856 |  | 428
Application.GVL_SENSORES.sensor[0].cfg.z_reserve3[2] | REAL | 4 | 860 |  | 430
Application.GVL_SENSORES.sensor[0].cfg.z_reserve3[3] | REAL | 4 | 864 |  | 432
Application.GVL_SENSORES.sensor[0].cfg.ueString | STRING | 8 | 868 |  | 434
Application.GVL_SENSORES.sensor[0].cmd.almReset | BIT | 1 | 876 | 0 | 438
Application.GVL_SENSORES.sensor[0].cmd.fltReset | BIT | 1 | 876 | 1 | 438
Application.GVL_SENSORES.sensor[0].cmd.enable | BIT | 1 | 876 | 2 | 438
Application.GVL_SENSORES.sensor[0].cmd.forceValue | BIT | 1 | 876 | 3 | 438
Application.GVL_SENSORES.sensor[0].cmd.maintenance | BIT | 1 | 876 | 4 | 438
Application.GVL_SENSORES.sensor[0].cmd.z_reserve[0] | BYTE | 1 | 877 |  | 438
Application.GVL_SENSORES.sensor[0].cmd.z_reserve[1] | BYTE | 1 | 878 |  | 439
Application.GVL_SENSORES.sensor[0].cmd.z_reserve[2] | BYTE | 1 | 879 |  | 439
Application.GVL_SENSORES.sensor[0].disable.alm.freezeReading | BIT | 1 | 880 | 0 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.overflow | BIT | 1 | 880 | 1 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.underflow | BIT | 1 | 880 | 2 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.valueAlmOrder | BIT | 1 | 880 | 3 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.valueHH | BIT | 1 | 880 | 4 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.valueH | BIT | 1 | 880 | 5 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.valueL | BIT | 1 | 880 | 6 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.valueLL | BIT | 1 | 880 | 7 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.hysteresisSpConfig | BIT | 1 | 881 | 0 | 440
Application.GVL_SENSORES.sensor[0].disable.alm.z_reserve[0] | BYTE | 1 | 882 |  | 441
Application.GVL_SENSORES.sensor[0].disable.alm.z_reserve[1] | BYTE | 1 | 883 |  | 441
Application.GVL_SENSORES.sensor[0].disable.flt.input | BIT | 1 | 884 | 0 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.overflow | BIT | 1 | 884 | 1 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.underflow | BIT | 1 | 884 | 2 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.freezeReading | BIT | 1 | 884 | 3 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.analogRange | BIT | 1 | 884 | 4 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.rawRange | BIT | 1 | 884 | 5 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.ueRange | BIT | 1 | 884 | 6 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.percentRange | BIT | 1 | 884 | 7 | 442
Application.GVL_SENSORES.sensor[0].disable.flt.z_reserve[0] | BYTE | 1 | 885 |  | 442
Application.GVL_SENSORES.sensor[0].disable.flt.z_reserve[1] | BYTE | 1 | 886 |  | 443
Application.GVL_SENSORES.sensor[0].disable.flt.z_reserve[2] | BYTE | 1 | 887 |  | 443
Application.GVL_SENSORES.sensor[0].equip.name | STRING | 12 | 888 |  | 444
Application.GVL_SENSORES.sensor[0].equip.equipmentType | UINT | 2 | 900 |  | 450
Application.GVL_SENSORES.sensor[0].equip.equipmentStatus | UINT | 2 | 902 |  | 451
Application.GVL_SENSORES.sensor[0].equip.actualFaultCode | UINT | 2 | 904 |  | 452
Application.GVL_SENSORES.sensor[0].equip.lastFaultCode | UINT | 2 | 906 |  | 453
Application.GVL_SENSORES.sensor[0].equip.almCode | UINT | 2 | 908 |  | 454
Application.GVL_SENSORES.sensor[0].equip.severity | UINT | 2 | 910 |  | 455
Application.GVL_SENSORES.sensor[0].equip.z_reserve[0] | WORD | 2 | 912 |  | 456
Application.GVL_SENSORES.sensor[0].equip.z_reserve[1] | WORD | 2 | 914 |  | 457
Application.GVL_SENSORES.sensor[0].equip.z_reserve[2] | WORD | 2 | 916 |  | 458
Application.GVL_SENSORES.sensor[0].equip.z_reserve[3] | WORD | 2 | 918 |  | 459
Application.GVL_SENSORES.sensor[0].equip.z_reserve[4] | WORD | 2 | 920 |  | 460
Application.GVL_SENSORES.sensor[0].equip.z_reserve[5] | WORD | 2 | 922 |  | 461
Application.GVL_SENSORES.sensor[0].flt.input | BIT | 1 | 924 | 0 | 462
Application.GVL_SENSORES.sensor[0].flt.overflow | BIT | 1 | 924 | 1 | 462
Application.GVL_SENSORES.sensor[0].flt.underflow | BIT | 1 | 924 | 2 | 462
Application.GVL_SENSORES.sensor[0].flt.freezeReading | BIT | 1 | 924 | 3 | 462
Application.GVL_SENSORES.sensor[0].flt.analogRange | BIT | 1 | 924 | 4 | 462
Application.GVL_SENSORES.sensor[0].flt.rawRange | BIT | 1 | 924 | 5 | 462
Application.GVL_SENSORES.sensor[0].flt.ueRange | BIT | 1 | 924 | 6 | 462
Application.GVL_SENSORES.sensor[0].flt.percentRange | BIT | 1 | 924 | 7 | 462
Application.GVL_SENSORES.sensor[0].flt.z_reserve[0] | BYTE | 1 | 925 |  | 462
Application.GVL_SENSORES.sensor[0].flt.z_reserve[1] | BYTE | 1 | 926 |  | 463
Application.GVL_SENSORES.sensor[0].flt.z_reserve[2] | BYTE | 1 | 927 |  | 463
Application.GVL_SENSORES.sensor[0].io.ai | INT | 2 | 928 |  | 464
Application.GVL_SENSORES.sensor[0].io.z_reserve[0] | BYTE | 1 | 930 |  | 465
Application.GVL_SENSORES.sensor[0].io.z_reserve[1] | BYTE | 1 | 931 |  | 465
Application.GVL_SENSORES.sensor[0].pv.percent | REAL | 4 | 932 |  | 466
Application.GVL_SENSORES.sensor[0].pv.raw | REAL | 4 | 936 |  | 468
Application.GVL_SENSORES.sensor[0].pv.ue | REAL | 4 | 940 |  | 470
Application.GVL_SENSORES.sensor[0].pv.z_reserve[0] | BYTE | 1 | 944 |  | 472
Application.GVL_SENSORES.sensor[0].pv.z_reserve[1] | BYTE | 1 | 945 |  | 472
Application.GVL_SENSORES.sensor[0].pv.z_reserve[2] | BYTE | 1 | 946 |  | 473
Application.GVL_SENSORES.sensor[0].pv.z_reserve[3] | BYTE | 1 | 947 |  | 473
Application.GVL_SENSORES.sensor[0].sp.percentForcedValue | REAL | 4 | 948 |  | 474
Application.GVL_SENSORES.sensor[0].sp.rawForcedValue | REAL | 4 | 952 |  | 476
Application.GVL_SENSORES.sensor[0].sp.ueForcedValue | REAL | 4 | 956 |  | 478
Application.GVL_SENSORES.sensor[0].sp.almHH | REAL | 4 | 960 |  | 480
Application.GVL_SENSORES.sensor[0].sp.almH | REAL | 4 | 964 |  | 482
Application.GVL_SENSORES.sensor[0].sp.almL | REAL | 4 | 968 |  | 484
Application.GVL_SENSORES.sensor[0].sp.almLL | REAL | 4 | 972 |  | 486
Application.GVL_SENSORES.sensor[0].sp.lowHysteresis | REAL | 4 | 976 |  | 488
Application.GVL_SENSORES.sensor[0].sp.highHysteresis | REAL | 4 | 980 |  | 490
Application.GVL_SENSORES.sensor[0].sp.z_reserve[0] | REAL | 4 | 984 |  | 492
Application.GVL_SENSORES.sensor[0].sp.z_reserve[1] | REAL | 4 | 988 |  | 494
Application.GVL_SENSORES.sensor[0].sts.maintenance | BIT | 1 | 992 | 0 | 496
Application.GVL_SENSORES.sensor[0].sts.forcedValue | BIT | 1 | 992 | 1 | 496
Application.GVL_SENSORES.sensor[0].sts.alm | BIT | 1 | 992 | 2 | 496
Application.GVL_SENSORES.sensor[0].sts.flt | BIT | 1 | 992 | 3 | 496
Application.GVL_SENSORES.sensor[0].sts.hysteresys | BIT | 1 | 992 | 4 | 496
Application.GVL_SENSORES.sensor[0].sts.z_reserve[0] | BYTE | 1 | 993 |  | 496
Application.GVL_SENSORES.sensor[0].sts.z_reserve[1] | BYTE | 1 | 994 |  | 497
Application.GVL_SENSORES.sensor[0].sts.z_reserve[2] | BYTE | 1 | 995 |  | 497